Ausschreibungstext

Artikelnummer

210997

Typ

NS4750-24S-4T-4X

Kurzbeschreibung

Gigabit Switch, managed, 24x SFP, 4x RJ45 shared, 4x SFP+ 1/10G

Hauptmerkmale

Weitere Merkmale (Spezifikationen)

| Gerätetyp | Layer2 Switch |
| --- | --- |
| Montage | Desktop |
| Ports | 24x 100/1000Base-X SFP, 4x 10/100/1000Base-T (shared), 4x 10GBit SFP |
| Bauart | Gehäuse |
| Stromversorgung | 100~240VAC, 36-60VDC |
| Temperaturbereich (Betrieb) | 0°C ~ +50°C |
| Schutzart | keine Angabe |
| Hersteller-Nr. | NS4750-24S-4T-4X |

Zubehör

| S30-RJ | SFP Port Gigabit 2 Fiber Mini GBIC Modul,100m |
| --- | --- |
| S30-2MLC | SFP Mini-GBIC Transceiver, Multi Mode, 2 Fiber, 1000BASE-SX, 550m |
| S30-2MLC-2 | SFP Mini-GBIC Transceiver, Multi Mode, 2 Fiber, 1000Base-SX2, 2km |
| S20-2MLC-2 | SFP Mini-GBIC Transceiver, Multi Mode, 2 Fiber, 100Base-FX, 2km |
| S30-1SLC/A-10 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 1000Base-BX10-U, 10km |
| S30-1SLC/A-20 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 1000Base-BX20-U, 20km |
| S30-1SLC/A-60 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 1000Base-BX60-U, 60km |
| S30-1SLC/B-10 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 1000Base-BX10-D, 10km |
| S30-1SLC/B-20 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 1000Base-BX20-D, 20km |
| S30-1SLC/B-60 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 1000Base-BX60-D, 60km |
| S20-1SLC/A-20 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 100Base-BX20-U, 20km |
| S20-1SLC/B-20 | SFP Mini-GBIC Transceiver, Single Mode, 1 Fiber, 100Base-BX20-D, 20km |
| S30-2SLC-10 | SFP Mini-GBIC Transceiver, Single Mode, 2 Fiber, 1000Base-LX, 10km |
| S40-2MLC | SFP+ Modul, 10BaseG-SR, 2 Faser, 300m, Multimode, 850nm, 0-70°C |
| S40-2SLC-10 | SFP+ Modul, 10BaseG-LR, 2 Faser, 300m, Singlemode, 850nm 0-70°C |