Ausschreibungstext

Artikelnummer

214509

Typ

AXIS T8061 ETHERNET SURGE PROT

Kurzbeschreibung

Überspannungsschutz, bis 10kV, für Netzwerkkomponenten, GBit und PoE Support, IP66

Hauptmerkmale

Netzwerk Überspannungsschutz

Für Datenraten bis 1 Gbps

Schützt bis 10 kV Spannung

Schutz aller 8 Netzwerkadern

PoE Unterstützung

Für Außenanwendung, IP66

Flexible Installation

Weitere Merkmale (Spezifikationen)

| Serie | Axis T80 |
| --- | --- |
| Hersteller-Nr. | 5801-641 |

Zubehör

| AXIS T92E20 HOUSING | Wetterschutzgehäuse, für Axis P13, M11, Q1755, Heizung, Lüfter, Dach, Wandarm, IP66 |
| --- | --- |
| AXIS T8640 POE+ OVER COAX KIT | Medienkonverter, RJ45, BNC, Ethernet über Koax, PoE+, Base-/Device Set (2 Stück) |
| AXIS T81B22 DC 30W MIDSPAN | PoE+ Midspan, IEEE802.3at, 12/24V Eingang, -20°C bis 65°C |
| AXIS T8129 POE EXTENDER | PoE Extender, PoE, PoE+ kompatibel, RJ45, 100m Reichweite |
| AXIS T8604 MEDIA CONVERTER SWI | Ethernet Medienkonverter, 2x 10/100Mbps RJ45, 2x 100/1000Mbps SFP |
| AXIS T8120 15W MIDSPAN 1-PORT | PoE Midspan, 1 Port, IEEE802.3af, 10/100Mbps |
| AXIS T8123-E OUTDOOR MIDSPAN 3 | PoE Midspan, 1 Port, IEEE802.3at, 30W, IP66, -40°C - +55°C |
| AXIS T8124-E OUTDOOR MIDSPAN 6 | PoE Midspan, 1 Port, IEEE802.3at, 60W, IP66, -40°C - +55°C |
| AXIS T8605 MEDIA CONVERTER SWI | Medienkonverter Switch, für Axis Q60-C und Q60-S, 2x RJ45, 2x SFP, 2x I/O, Kabel |
| AXIS T8125 AC 24V Midspan 60W | High PoE Midspan, 1 Port, 60W, Gigabit, -10 - +65°C, 24V AC IEEE802.3at, IEEE802.3af |
| AXIS T8133 30W MIDSPAN | PoE+ Midspan, IEEE802.3at, Type 2, Class 4, 1 Port |
| AXIS T93F20 OUTDOOR HOUSING PO | Wetterschutzgehäuse, für Axis P13, Q16, Wandarm, IP66, IK10, PoE, weiß |
| AXIS T8134 60W MIDSPAN | High PoE Midspan, 1 Port, 60W, Gigabit, -10 - +45°C, 100-240V IEEE802.3at, IEEE802.3af |
| AXIS POE MIDSPAN 16-PORT | PoE Midspan, 16 Port, IEEE802.3af, 90-264VAC |
| AXIS POE MIDSPAN 8-PORT | PoE Midspan, 8 Port, IEEE802.3af, 90-264VAC |
| AXIS COMPANION SWITCH 4CH | Fast Ethernet Switch, Layer2, 4 Ports mit PoE+, 1 Uplink, 60W PoE Budget |
| AXIS T8154 60W SFP MIDSPAN | PoE Midspan, 1 Port, 60W, SFP-Slot, Gigabit, 100-240V |